ME 104 – Measurements Lab

- 1 Credit – 1 Contact hour/week - Category: Engineering Experiments

- Instructors: Michael Giglia

  - Office - 705

- Textbook - N/A

  - All Physical materials for lab

- Specific course information:

  - The course, taken concurrently with Statics, includes laboratory modules that focus on the measurement of force from both mechanical and electrical signals. Students develop laboratory and technical communication skills.

  - ME 103 – co-requisite

  - Required Course

- Specific goals for the course (ABET outcomes shown in brackets):

  - The student will be able to build a circuit from an electrical schematic (6)

  - The student will be able to define mathematical models for various sensors (1)

  - The student will be able to justify reasons for experimental error (6)

  - The student will be able to generate code to get measurements from various sensors (6)

- Brief list of topics to be covered:

  - Reading a Vernier Calipe

  - Random/Systematic Error

    - Instrument modelling

  - Ohm’s Law, KVL, KCL, Voltage Division Circuits, Boolean Logic and Digital circuits (Buttons)

  - State Machines / Precise timing logic

  - Amplifiers (Instrument Amplifiers)

  - Analog to Digital Conversion

  - Using a Thermistor

  - Using a Photo-Resistor

  - Wheatstone Bridge

  - Using an integrated amplifier and analog-digital converter (ADC) to measure strain

  - Introduction to High/Low pass filters